| Facility: |  |  |  |
| --- | --- | --- | --- |
| Reporter: |  |  |  |
| Participants: |  |  |  |
|  | Kitchen Fire Safety Checklist | Yes/No | Explanation |
| 1 | Chimney Cleaning: Has chimney cleaning been conducted at least four times a year in accordance with municipal regulations? Please specify the date of the last cleaning. |  |  |
| 2 | Hood Systems: Are fire detection and automatic extinguishing systems installed? Please specify the date of the last inspection. |  |  |
| 3 | Gas Systems: Have kitchen gas detection, cut-off, and warning systems been installed and maintained periodically? Please specify the date of the last inspection. |  |  |
| 4 | Hood Maintenance: Have the detection and extinguishing systems been regularly inspected? Please specify the date of the last inspection. |  |  |
| 5 | Grease Cleaning: Have the chimney, filters, and ventilation ducts been cleaned of grease deposits? Please specify the date of the last cleaning, ensuring it was conducted in accordance with the current Chimney Cleaning and Inspection Regulations issued by the relevant unicipal authorities. |  |  |
| 6 | Fire Training: Has basic fire training been provided to all kitchen staff? Please specify the date of the last training session. |  |  |
| 7 | Water-Based Fire Suppression Systems: Are the facility's water-based fire suppression systems being inspected regularly? Please specify the date of the last inspection |  |  |
| 8 | Fire Cabinets, Hydrants, and Portable Extinguishers: Are fire cabinets, hydrants, and portable extinguishers being inspected regularly? Please specify the date of the last inspection and the number of fire extinguishing devices specifically in the kitchen. |  |  |
| 9 | Fire and Evacuation Drills: Verify that regular drills involving all employees have been conducted in the last six months. Please specify the date of the last drill. |  |  |
| 10 | Fire Detection and Alarm Systems: Ensure that fire detection and alarm systems are installed and operational in all facilities, and that periodic inspections are being carried out. Please specify the frequency and the date of the last periodic inspection. |  |  |
| 11 | Emergency Plans: Ensure that your facility's emergency plan is prepared and up-to-date. Please specify the date of the last update. |  |  |