Gas Extinguishing System Solution in Semerkand Factory

EPC by Grextech Fire and Building Solution

LV Room

Since there are electronic equipment in this room, it is not suitable to use a water extinguishing system.

This room is protected with Fm200 automatic gas extinguishing system called clean gases.

This room; NFPA2001 Class C (electrical fires) was taken into consideration and the amount of gas was determined with a concentration rate of 7%.

Space protection has been made to ensure the discharge of gas into the room and raised floor at the same time.

Cylinders;

Nozzles;

Example image;

Isometry Projects;

UPS Room

Since there are electronic equipment in this room, it is not suitable to use a water extinguishing system.

This room is protected with Fm200 automatic gas extinguishing system called clean gases.

This room; NFPA2001 Class C (electrical fires) was taken into consideration and the amount of gas was determined with a concentration rate of 7%.

Space protection has been made to ensure the discharge of gas into the room and raised floor at the same time.

Cylinders;

Nozzles;

Example image;

Isometry Projects;

IT & System Room

Since there are electronic equipment in this room, it is not suitable to use a water extinguishing system.

This room is protected with Fm200 automatic gas extinguishing system called clean gases.

This room; NFPA2001 Class C (electrical fires) was taken into consideration and the amount of gas was determined with a concentration rate of 7%.

Space protection has been made to ensure the discharge of gas into the room and raised floor at the same time.

Cylinders;

Nozzles;

Example Image;

Isometry Projects;